## Slide 1: Negative Taste Experiences in Gormsey
Peter Prevos

## Slide 2: Problem Statement
Chlorine levels about 0.6 mg/L are acceptable by only 50% of customers
A minimum chlorine residual is required for public health
Exploratory analysis of chlorine levels for all Gormsey suburbs

## Slide 3: Laboratory Data
Monthly samples are taken from customer taps in each town.
Sampled between 2069-01-01 and 2070-12-31.
Fields:
  Sample_No: Number of the sample
  Date: Date the sample was taken
  Sample_Point: Sample point asset number
  Suburb: Gormsey suburb
  Result: Test result
Sample tap (mass.gov).

## Slide 4: Explore results

## Slide 5: Top-three High Chlorine Locations
Suburb | Minimum Cl | Mean Cl | Maximum Cl | Negative taste %
Wakefield | 0.03 | 1.00 | 2.04 | 71
Blancathey | 0.03 | 0.82 | 1.71 | 63
Hallburgh | 0.03 | 0.37 | 1.50 | 26

## Slide 6: Conclusion and Recommendation
Chlorine levels in some Gormsey suburbs are high
High levels lead to a negative customer experience
Highest level in Wakefield.
Further research required to correlate taste complaints with chlorine levels