## Slide 1: Gormsey Trihalomethane Compliance
Peter Prevos

## Slide 2: Problem Statement
  New guideline lowers the maximum value for THMs at the customer tap to 0.20 mg/l.
  This report reviews historical data to assess the risk of non-compliance.
  Assumes no operational changes are implemented.

## Slide 3: Methodology
  Monthly samples are taken from customer taps in each town.
  Data avalable between 2017-01-12 and 2018-12-20.
  Fields:
    Sample_No: Number of the sample
    Date: Date the sample was taken
    Sample_Point: Sample point asset number
    Town: Town
    Result: Test result
Sample tap.

## Slide 4: Exploratory Analysis
Town | Samples
Bellmoral | 24
Blancathey | 24
Merton | 24
Paethsmouth | 24
Pontybridge | 24
Snake’s Canyon | 24
Southwold | 24
Strathmore | 24
Swadlincote | 24
Tarnstead | 24
Wakefield | 24
Summary sample numbers.

## Slide 5: Analysis

## Slide 6: Summary
  5 samples exceeded the proposed new limit in Southwold, Merton
  Further investigation required to determine the cause.